## 03
Published Shutdown Dated 03-July-2021
Date | SAP Notification | Scope Of Shutdown | Feeder Name | Feeder ID | Cluster | DTS/ PMT Name | DTS/ PMT ID | Availing Department | Time
2021-07-03 | Through E-mail | Earth Wire Pulling | Nishan-e-Hyder | 689 | Orangi | Roomi Masjid PMT | 3166 | PM | 09:30 to 18:30
2021-07-03 | Through Email | DB’s Installation MSBB | Baradari | 99 | GULSHAN | HINA TERRACE | 4884 | ENC | 09:00 to 18:00
2021-07-03 | Through Email | ABC Pulling , Connection & Dismantling Work | AL-NAJEEB | 347 | GULSHAN | IMTIAZ SQR | 1097 | AOC AZM | 09:00 to 18:00
2021-07-03 | Through Email | LT ABC PULLING (Road crossing) | Asif and Zafar | 351 | GULSHAN | P-6, PMT, B-12 BLOCK-7 | 10801 | PM | 09:00 to 18:00
2021-07-03 | Through Email | ABC Connection & Dismantling Work | MASKAN (OLD BHAYANI) | 3016 | GULSHAN | MASKAN APPT | 10335 | AOC AZM | 09:00 to 18:00
2021-07-03 | Through Email | Hopeless Pole Shifting | Kh-e-Abbasi | 3308 | Defence | KH-E-RIZWAN OFF LANE-10 PMT-2 | 512040 | PM-Proj | 0900 To 1800
2021-07-03 | Through Email | Hopeless Pole Shifting | Defence-14 | 58 | Defence | 13TH STREET OF BADAR PMT-2 | 10037 | PM-Proj | 0900 To 1800
2021-07-03 | Through Email | Cable Pulling against Rd Cross Spans | KE COLONY (OLD GUL. HADEED 06 ) | 761 | Bin Qasim | K.E.S.C COLONY LOCAL | 502551 | CM BQ | 10:00:00-17:30:00
2021-07-03 | Through Email | Cable Pulling against hopeless conductor | MANSEHRA COLONY | 1262 | Bin Qasim | AGRORI MOHALLA PMT 02(LHS) | 4227 | CM BQ | 10:00:00-17:30:00
2021-07-03 | Through Email | LT ABC pulling & Dismantling | POLE # 58 RMU EYE HOSPITAL | 1572 | Bin Qasim | ABDUL SAMAD | 11607 | CM IBC Malir | 10:00:00-17:00:00
2021-07-03 | Through Email | LT ABC pulling & Dismantling | POLE # 58 RMU EYE HOSPITAL | 1572 | Bin Qasim | CHAIRMAN BASHIR PMT | 527966 | CM IBC Malir | 10:00:00-17:00:00
2021-07-03 | Through Email | LT ABC pulling & Dismantling | POLE # 58 RMU EYE HOSPITAL | 1572 | Bin Qasim | GUL HASSAN GOTH | 502083 | CM IBC Malir | 10:00:00-17:00:00
2021-07-03 | Through Email | LT ABC pulling & Dismantling | POLE # 58 RMU EYE HOSPITAL | 1572 | Bin Qasim | RASHID SAMO GOTH | 530218 | CM IBC Malir | 10:00:00-17:00:00
2021-07-03 | Through Email | LT ABC pulling & Dismantling | POLE # 58 RMU EYE HOSPITAL | 1572 | Bin Qasim | SHAFI GOTH | 11633 | CM IBC Malir | 10:00:00-17:00:00
2021-07-03 | Through Email | Rectification Works | COMMUNITY HALL | 274 | Bin Qasim | FAROOQUI MASJID | 509743 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | LT | Pak Steel RMU | 3441 | Johar | JAMALI P61/28/5 HAMIDULA MRWT | 172724 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | LT | Pak Steel RMU | 3441 | Johar | INSAF WELFARE TRUST BLOCK A & B (WALA JAN) PMT | 527407 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | LT | Pak Steel RMU | 3441 | Johar | BAKHT MUHAMMAD BOOSTAN | 523234 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | LT | Pak Steel RMU | 3441 | Johar | FATEH MUHAMMAD GOTH P. 62 | 4571 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | LT | Pak Steel RMU | 3441 | Johar | WELFARE COMMITTEE (NEW GHARIBABAD) | 523235 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | LT | Pak Steel RMU | 3441 | Johar | WALA JAN (TAJ PMT) | 523830 | E&C | 09:00:00-18:00:00
2021-07-03 | Through Email | CT’s replace | FLEET MANAGEMENT | 3078 | Korangi | M/S K.E.S.C TRANSPORT&WORKSHOP(KMZ) | 508749 | RMTD | 12:00:00-14:00:00
2021-07-03 | 360126120 | PAK CHEMICAL S/S TEMPORARY SHIFTING OF S/S EQUIPMENTS PAK CHEMICAL S/S | NAURAS | 3137 | Orangi | RM-02574 : PAK CHEMICAL S/S : KVA | RM-02574 | UGM Orangi Cluster | 09:00:00-18:00:00
2021-07-03 | 360126133 | JAMALUDIN AFGHANI PMT SIDE CT'S FLASH (BUS BAR TO BE CHECKED) - AMBER CINEMA S/S | AMBER CINEMA | 1150 | Society | EXTRA AFFECTED | - | SSM Cluster Societ | 08:30:00-18:30:00
2021-07-03 | 360126133 | JAMALUDIN AFGHANI PMT SIDE CT'S FLASH (BUS BAR TO BE CHECKED) - AMBER CINEMA S/S | AMBER CINEMA | 1150 | Society | DTS-508986 : SHAHNAZ AKHTER, CITY CENTRE : 500 KVA | 508986 | SSM Cluster Societ | 08:30:00-18:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-011991 : SIDDIQI ARCADE : 250 KVA | 11991 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126133 | JAMALUDIN AFGHANI PMT SIDE CT'S FLASH (BUS BAR TO BE CHECKED) - AMBER CINEMA S/S | AMBER CINEMA | 1150 | Society | S/S REQUIRED DEAD IN ALL ASPECT | - | SSM Cluster Societ | 08:30:00-18:30:00
2021-07-03 | 360126133 | JAMALUDIN AFGHANI PMT SIDE CT'S FLASH (BUS BAR TO BE CHECKED) - AMBER CINEMA S/S | AMBER CINEMA | 1150 | Society | DTS-004935 : AMBER CINEMA SS LOCAL-1 : 1000 KVA | 4935 | SSM Cluster Societ | 08:30:00-18:30:00
2021-07-03 | 360126133 | JAMALUDIN AFGHANI PMT SIDE CT'S FLASH (BUS BAR TO BE CHECKED) - AMBER CINEMA S/S | AMBER CINEMA | 1150 | Society | DTS-508991 : AMBER CINEMA SS LOCAL-2 : 750 KVA | 508991 | SSM Cluster Societ | 08:30:00-18:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-011977 : NAZIMABAD S/S-I(KESC DISTRICT OFFICE) : 1500 KVA | 11977 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-011989 : J-30 D/PMT (LHS), MUSLIM LEAGUE QTRS. : 250 KVA | 11989 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-011978 : YES MINSTER : 250 KVA | 11978 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-011988 : AL-ZAFAR PMT RMU NAZIMABAD 1 : 250 KVA | 11988 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-011992 : J-30, MUSLIM LEAGUE QTRS. SINGLE PMT : 250 KVA | 11992 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-012389 : SAMAR KAN DERA D/PMT : 500 KVA | 12389 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-500597 : CHAYEL ARCHADE : 100 KVA | 500597 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-500702 : GIFTY PMT : 150 KVA | 500702 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-504903 : MADINA MASJID PMT RHS : 250 KVA | 504903 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-505759 : J-30, D/PMT (RHS) MUSLIM LEAGUE QTRS : 500 KVA | 505759 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-510765 : M/S MOOSA MEHMOOD : 50 KVA | 510765 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-511615 : SAMAR QAND KA DARA PMT-2 (NEW PMT) : 250 KVA | 511615 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-513010 : Siddiqi ARCADE PMT-2 : 250 KVA | 513010 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-513011 : YES MISTER PMT-2 : 250 KVA | 513011 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-522406 : NEW MADINA MASJID LHS PMT : 250 KVA | 522406 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-523826 : ASIF ISHTIAQ : 400 KVA | 523826 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-525703 : SIDDIQUI ARCADE PMT-III (RAZA COUNCILOR) : 250 KVA | 525703 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126181 | TREE PRUNING REQUIRED / HT NEAREST | DISTRICT OFFICE(HABIB INDUSTRY) | 775 | Gulshan | DTS-526673 : M/S MUHAMMAD KAMIL FALAK GOLD RESIDENCY : 100 KVA | 526673 | IBC Nazimabad | 10:00:00-16:30:00
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-171696 : P-23, SEC,.5D, NORTH KARACHI PMT : 250 KVA | 171696 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126378 | PULLING OF SPAN AND LBS DISMANTLING CASE ID 404308330 | GULF DYING | 814 | Orangi | DTS-010292 : ANWAR CORPORATION PMT : 150 KVA | 10292 | NC A50 R-1&2 | 10:00:00-18:00:00
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | MAY BE WHOLE FEEDER AFFECTED | - | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012716 : P-36, SEC-5D, NK : 250 KVA | 12716 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | WHOLE FEEDER AFFECTED ) | - | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012340 : P-32, SEC-5D, NK : 500 KVA | 12340 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012698 : P-20, SEC-5D, NK : 500 KVA | 12698 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012699 : P-39, SEC-5D, NK : 250 KVA | 12699 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012703 : P-22/5, (RHS) AL-SALEEM SEC -4B SURJANI : 250 KVA | 12703 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012711 : P-22/5/3, SEC-5D, NK : 250 KVA | 12711 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012713 : P-22/5, SEC-5D, NK (LHS) : 250 KVA | 12713 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-012714 : P-36/4, SEC-5D, NK : 250 KVA | 12714 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-500768 : P-34, SEC-5D, NK : 250 KVA | 500768 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126385 | HT REINFORCEMENT, TREE PRUNING , EARTH WIRE RESAGGING & LT EARTH WIRE PULLING ( LOOP P-19 SIDE OFF ) | OAKLAND SCHOOL (OLD POLE-19 RMU) | 3376 | Surjani | DTS-529177 : P-28A PMT, SECTOR-5D NORTH KARACHI : 250 KVA | 529177 | IBC Surjani | 08:00:59-17:30:02
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | DTS-508842 : JAMIA TADRISULQURAN P11/FAROOQ AZAM : 15 KVA | 508842 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | DTS-509513 : MASHRIQ SOCIETY 03 P-1/4/3 : 200 KVA | 509513 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | DTS-509956 : MASHRIQ SOCIETY PMT 01 P-06 : 200 KVA | 509956 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | RM-02080 : COTTON EXPORT S/S : KVA | RM-02080 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | RM-02090 : DIAMOND TERRACE/FASAHTULLAH : KVA | RM-02090 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | RM-02091 : HADIABAD S/S : KVA | RM-02091 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | RM-02092 : KHURRASAN SOCIETY S/S : KVA | RM-02092 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | RM-02093 : MASHRIQ SOCIETY S/S : KVA | RM-02093 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | RM-04201 : GLOBAL ASSOCIATES : KVA | RM-04201 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126338 | DCRC PANEL INSTALLATION BY TEAM AMI. | DEFENCE-10 | 3 | Defence | DTS-012235 : KH-E-TANZEEM PMT-2 LHS : 500 KVA | 12235 | RPR IBC Defence | 09:00:00-17:00:00
2021-07-03 | 360126367 | VCB INSTALLATION AND SCHEME ENERGIZATION CASE ID 404308186 | INDUS CELL | 2064 | Orangi | DTS-505565 : GAMA INDUSTRY S/S LOCAL : 250 KVA | 505565 | NC A50 R-1&2 | 10:00:00-18:00:00
2021-07-03 | 360126237 | HAZARD P-16/6 SHAH FAISAL MASJID PMT SHIFTING AT KHWAJA GHAREEB NAWAZ FEEDER | KHWAJA GHAREEB NAWAZ | 691 | Orangi | DTS-172684 : P-16/6 SHAH FAISAL MASJID : 250 KVA | 172684 | PM Orangi Cluster | 10:00:00-18:00:00
2021-07-03 | 360126302 | HOT SPOT WORKS | MASHRIQ SOCIETY | 3060 | Johar | FDR-003060 : MASHRIQ SOCIETY : 300 KVA | FDR-003060 | IBC Gadap | 09:00:00-17:00:00
2021-07-03 | 360126338 | DCRC PANEL INSTALLATION BY TEAM AMI. | DEFENCE-10 | 3 | Defence | DTS-012583 : KH-E-TANZEEM PMT-2 RHS : 250 KVA | 12583 | RPR IBC Defence | 09:00:00-17:00:00
2021-07-03 | 360126338 | DCRC PANEL INSTALLATION BY TEAM AMI. | DEFENCE-10 | 3 | Defence | DTS-171565 : KH. SHUJJAT PMT-2/A : 250 KVA | 171565 | RPR IBC Defence | 09:00:00-17:00:00
2021-07-03 | 360126338 | DCRC PANEL INSTALLATION BY TEAM AMI. | DEFENCE-10 | 3 | Defence | DTS-504898 : FOOT BALL GROUND PMT : 250 KVA | 504898 | RPR IBC Defence | 09:00:00-17:00:00
2021-07-03 | 360126475 | PMT REINFORCEMENT ALTAF HUSSAIN | POPULAR AVENUE RMU | 3712 | Defence | DTS-174689 : FATIMA ALLAUDDIN PMT : 150 KVA | 174689 | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126707 | CABLE SHIFTING WORK | NAURAS | 3137 | Orangi | HAROONABAD S/D TO NAURUS MCF | - | UGM Orangi Cluster | 11:00:00-13:00:00
2021-07-03 | 360126429 | CT REINFORCEMENT CHIEF MANAGER | STATE BANK-2 | 738 | Defence | EXISTING STATE BANK SS 2 (RM-00089) REQUIRED DEAD FOR CT REINFORCEMENT | - | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126429 | CT REINFORCEMENT CHIEF MANAGER | STATE BANK-2 | 738 | Defence | BS-503679 : STATE BANK-2 S/S B/S BH076 : KVA | BS-503679 | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126429 | CT REINFORCEMENT CHIEF MANAGER | STATE BANK-2 | 738 | Defence | RM-00089 : STATE BANK-2 S/S : KVA | RM-00089 | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126475 | PMT REINFORCEMENT ALTAF HUSSAIN | POPULAR AVENUE RMU | 3712 | Defence | (DTS-521747) REQUIRED DEAD FROM FAR END FOR REINFORCEMENT OF FAROOQ | - | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126475 | PMT REINFORCEMENT ALTAF HUSSAIN | POPULAR AVENUE RMU | 3712 | Defence | EXISTING DOUBLE PMT FATIMA ALLAUDDIN (DTS-174689) AND FAROOQ RASHEED PMT | - | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126475 | PMT REINFORCEMENT ALTAF HUSSAIN | POPULAR AVENUE RMU | 3712 | Defence | RASHEED PMT | - | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126475 | PMT REINFORCEMENT ALTAF HUSSAIN | POPULAR AVENUE RMU | 3712 | Defence | DTS-521747 : FAROOQ RASHEED : 100 KVA | 521747 | NC A50 R-1&2 | 09:00:00-18:00:00
2021-07-03 | 360126542 | HT JUMPER, DE RE-SAGGING, QC WORK | OPAL LAB. | 3021 | Korangi | FDR-003932 : GULISTAN MARKET RMU : 300 KVA | FDR-003932 | IBC Landhi | 11:00:00-17:00:00
2021-07-03 | 360126546 | SHIFTING OF HT & LT CABLES FROM ZIAUDDIN SEWERAGR PUMP S/S TO TEMPORARY INSTALLED PMT FOR VACATION OF SS DUE TO RECONSTRUCTION | ZIAUDDIN SEWERAGE PUMP | 86 | Defence | DTS-005987 : SEWERAGE PUMP : 750 KVA | 5987 | PM Defence Cluster | 09:00:00-18:00:00
2021-07-03 | 360126547 | EARTH WIRE PULLING | AL WAJID TOWN RMU | 3158 | Orangi | DTS-509403 : P-19 HAQANI CHOWK PMT : 250 KVA | 509403 | E&C Protection | 09:00:00-18:00:00
2021-07-03 | 360126500 | HAZARD PMT SHIFTING AT RANA M. WARIS T/PMT-3(MID) PMT OF IA INDUSTRIES FEEDER | IA INDUSTRIES | 766 | Orangi | DTS-004119 : RANA M. WARIS T/PMT-3(MID) : 250 KVA | 4119 | PM Orangi Cluster | 10:00:00-18:00:00
2021-07-03 | 360126504 | INSTALLATION OF PMT STRUCTURE /LILO &PMT SHIFTING WITH ACCESSORIES AND OH DISMANTLING | FATMID FOUNDATION | 238 | Society | ALI RAZA PMT REQUIRED DEAD | - | PM Society Cluster | 08:30:00-18:30:00
2021-07-03 | 360126504 | INSTALLATION OF PMT STRUCTURE /LILO &PMT SHIFTING WITH ACCESSORIES AND OH DISMANTLING | FATMID FOUNDATION | 238 | Society | ASGHAR ALI PANJWANI PMT TO OH POLE SHACKLE POLE CABLE ALSO REQUIRED DEAD | - | PM Society Cluster | 08:30:00-18:30:00
2021-07-03 | 360126504 | INSTALLATION OF PMT STRUCTURE /LILO &PMT SHIFTING WITH ACCESSORIES AND OH DISMANTLING | FATMID FOUNDATION | 238 | Society | DTS-504265 : ALI RAZA PMT : 250 KVA | 504265 | PM Society Cluster | 08:30:00-18:30:00
2021-07-03 | 360126504 | INSTALLATION OF PMT STRUCTURE /LILO &PMT SHIFTING WITH ACCESSORIES AND OH DISMANTLING | FATMID FOUNDATION | 238 | Society | DTS-002013 : FATMIA HOSPITAL/OLD DOST M.BHOJANI PMT : 500 KVA | 2013 | PM Society Cluster | 08:30:00-18:30:00
2021-07-03 | 360126507 | ABC PULLING/CONNECTION WORK | DUTY FREE SHOP(ANUM BLESSINGS) | 1138 | Society | MUHAMMAD ARIF PMT LT REQUIRED DEAD | - | PM Society Cluster | 09:00:00-18:30:00
2021-07-03 | 360126507 | ABC PULLING/CONNECTION WORK | DUTY FREE SHOP(ANUM BLESSINGS) | 1138 | Society | DTS-527680 : MUHAMMAD ARIF PMT : 250 KVA | 527680 | PM Society Cluster | 09:00:00-18:30:00
2021-07-03 | 360126534 | PROJECT ENSURE (SS RECONSTRUCTION) SD | DHA PHASE-8 S/S-14 | 3253 | Defence | RM-02836 : DHA PHASE-8 S/S-50 (Coastal St) : KVA | RM-02836 | IBC Defence | 08:00:00-18:00:00
2021-07-03 | 360126535 | MESH EARTHING COMPLETION | DEFENCE PUMPING-4 | 41 | Defence | DTS-009108 : DEFENCE PUMPING-4 SS : 500 KVA | 9108 | IBC Defence | 10:00:00-16:00:00
2021-07-03 | 360126538 | HOTSPOT MAINTENANCE & TREE PRUNING | NATHA KHAN RMU | 3531 | Bin Qasim | DTS-002252 : NASEERABAD PMT 1 : 250 KVA | 2252 | IBC Shah Faisal | 10:00:00-16:00:00
2021-07-03 | 360126538 | HOTSPOT MAINTENANCE & TREE PRUNING | NATHA KHAN RMU | 3531 | Bin Qasim | DTS-002257 : NATHA KHAN PMT 01 : 500 KVA | 2257 | IBC Shah Faisal | 10:00:00-16:00:00
2021-07-03 | 360126538 | HOTSPOT MAINTENANCE & TREE PRUNING | NATHA KHAN RMU | 3531 | Bin Qasim | DTS-002258 : NATHA KHAN PMT 02 : 250 KVA | 2258 | IBC Shah Faisal | 10:00:00-16:00:00
2021-07-03 | 360126538 | HOTSPOT MAINTENANCE & TREE PRUNING | NATHA KHAN RMU | 3531 | Bin Qasim | DTS-500876 : TAJ CENTRE PMT : 250 KVA | 500876 | IBC Shah Faisal | 10:00:00-16:00:00
2021-07-03 | 360126538 | HOTSPOT MAINTENANCE & TREE PRUNING | NATHA KHAN RMU | 3531 | Bin Qasim | DTS-512205 : FAYSAL BANK : 50 KVA | 512205 | IBC Shah Faisal | 10:00:00-16:00:00
2021-07-03 | 360126538 | HOTSPOT MAINTENANCE & TREE PRUNING | NATHA KHAN RMU | 3531 | Bin Qasim | DTS-523670 : NASEERABAD PMT 2 : 500 KVA | 523670 | IBC Shah Faisal | 10:00:00-16:00:00
2021-07-03 | 360126542 | HT JUMPER, DE RE-SAGGING, QC WORK | OPAL LAB. | 3021 | Korangi | DTS-506094 : 37-A SCHOOL WALI PMT : 250 KVA | 506094 | IBC Landhi | 11:00:00-17:00:00
2021-07-03 | 360126542 | HT JUMPER, DE RE-SAGGING, QC WORK | OPAL LAB. | 3021 | Korangi | DTS-509166 : MUKHTAR BHAI PMT : 200 KVA | 509166 | IBC Landhi | 11:00:00-17:00:00
2021-07-03 | 360126547 | EARTH WIRE PULLING | AL WAJID TOWN RMU | 3158 | Orangi | HT O/H SHUTDOWN FROM DILKASH MUSIC TO HAQANI CHOWK REQUIRED | - | E&C Protection | 09:00:00-18:00:00
2021-07-03 | 360126547 | EARTH WIRE PULLING | AL WAJID TOWN RMU | 3158 | Orangi | DTS-003632 : P-11,DILKASH MUSIC : 250 KVA | 3632 | E&C Protection | 09:00:00-18:00:00
2021-07-03 | 360126550 | MAKING HT JUMPRING&CABLE HANGING (M.AMIN ID#109014367 | MASHRIQ SOCIETY | 3060 | Johar | DTS-522992 : DHANI BUX GOTH : 250 KVA | 522992 | NC A50 R-3&4 | 10:00:58-16:00:00
2021-07-03 | 360126550 | MAKING HT JUMPRING&CABLE HANGING (M.AMIN ID#109014367 | MASHRIQ SOCIETY | 3060 | Johar | ADD.SUPP:KAMRAN,WASEEM,SALAH,IMRAN,SHER ALAM | - | NC A50 R-3&4 | 10:00:58-16:00:00
2021-07-03 | 360126550 | MAKING HT JUMPRING&CABLE HANGING (M.AMIN ID#109014367 | MASHRIQ SOCIETY | 3060 | Johar | EXISTING HT O/H MAINS | - | NC A50 R-3&4 | 10:00:58-16:00:00
2021-07-03 | 360126550 | MAKING HT JUMPRING&CABLE HANGING (M.AMIN ID#109014367 | MASHRIQ SOCIETY | 3060 | Johar | DTS-512119 : DHANI BUX GOTH BL-A P.11/1 : 250 KVA | 512119 | NC A50 R-3&4 | 10:00:58-16:00:00
2021-07-03 | 360126554 | CHECK METER INSTALLATION/MAINTENANCE | SHAMS-UDDIN | 692 | Orangi | DTS-527974 : P-08 ABDUL RAHEEM MT : 250 KVA | 527974 | RPR IBC Orangi-I | 09:00:00-17:30:00
2021-07-03 | 360126581 | ISHAQABAD PMT-1 HOPELESS CONDITION DBS & BREAKER BOX TO BE REPLACE | EAGLE SQUAD | 102 | Gulshan | DTS-500511 : ISHAQABAD PMT-1 : 500 KVA | 500511 | Centralize Gulshan | 10:00:00-16:00:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-005400 : P-32/4 AKHTER HOTEL PMT : 500 KVA | 5400 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126582 | AL-HABIB SOCIETY NEAR COMPREHENSIVE SCHOOL PMT & SINDHI SCHOOL BHANGORIA GOTH, F.B. AREA PMT BOTH PMTS HOPELESS CONDITION DBS & BREAKER BOX TO BE REPLACE | GULNOOR ICE | 2034 | Gulshan | DTS-500423 : SINDHI SCHOOL BHANGORIA GOTH, F.B. AREA : 250 KVA | 500423 | Centralize Gulshan | 10:00:00-16:00:00
2021-07-03 | 360126582 | AL-HABIB SOCIETY NEAR COMPREHENSIVE SCHOOL PMT & SINDHI SCHOOL BHANGORIA GOTH, F.B. AREA PMT BOTH PMTS HOPELESS CONDITION DBS & BREAKER BOX TO BE REPLACE | GULNOOR ICE | 2034 | Gulshan | DTS-500547 : AL-HABIB SOCIETY NEAR COMPREHENSIVE SCHO : 250 KVA | 500547 | Centralize Gulshan | 10:00:00-16:00:00
2021-07-03 | 360126593 | AMR CHECK METER FMR | WONDER BREAD(LAL SHAHBAZ) | 1196 | Gulshan | DTS-500281 : P-3, WIN SPOT ENG. : 150 KVA | 500281 | IBC Fedral B Area | 10:30:00-16:30:00
2021-07-03 | 360126593 | AMR CHECK METER FMR | WONDER BREAD(LAL SHAHBAZ) | 1196 | Gulshan | DTS-510785 : P-7A, SUBHAN FOOD INDUSTRIES : 150 KVA | 510785 | IBC Fedral B Area | 10:30:00-16:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | P-26 SHACKLE POLE | - | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | P-36 KS POLE | - | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-005397 : P-38 KHALA SHAMIM PMT-1 : 250 KVA | 5397 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-503903 : P-26/4 GROUND WALI PMT : 250 KVA | 503903 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-503904 : P-49 HAQ BAHO CHOWK PMT-1 : 250 KVA | 503904 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-523220 : P-42 ARSHAD MAJEED PMT : 250 KVA | 523220 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-526406 : P-32/12 FAISAL KHAN PMT : 250 KVA | 526406 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-529005 : TANOLI MUHALLA PMT : 250 KVA | 529005 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-530234 : P-53 HAQ BAHO CHOWK PMT-2 : 250 KVA | 530234 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-530406 : P-36/12 KHALA SHAMIM PMT-2 : 250 KVA | 530406 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126613 | QC DISCRIPENCIES REMOVAL AT SOME QAIM KHANI FEEDER | P-23 QAIM KHANI RMU | 3623 | Baldia | DTS-530824 : 20 NUMBER BUS STOP : 250 KVA | 530824 | PM Baldia Cluster | 09:30:00-17:30:00
2021-07-03 | 360126617 | I/C SIDE SWITCH TO BE REPLACE IN MASHRIQ | MASHRIQ SOCIETY | 3060 | Johar | DTS-509512 : MASHRIQ SOCIETY S/S : 500 KVA | 509512 | SSM Johar Cluster | 10:00:00-15:00:00
2021-07-03 | 360126617 | I/C SIDE SWITCH TO BE REPLACE IN MASHRIQ | MASHRIQ SOCIETY | 3060 | Johar | RM-02093 : MASHRIQ SOCIETY S/S : KVA | RM-02093 | SSM Johar Cluster | 10:00:00-15:00:00
2021-07-03 | 360126630 | G.MAINT OF KINGS RESIDENCY SUBSTATION | KING RESIDENCY | 3068 | Johar | DTS-508305 : KING RESIDENCY S/S : 1000 KVA | 508305 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126630 | G.MAINT OF KINGS RESIDENCY SUBSTATION | KING RESIDENCY | 3068 | Johar | RM-01312 : KING RESIDENCY S/S : KVA | RM-01312 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126632 | G.MAINT OF CHAPPAL BUILDER SUBSTATION | KING RESIDENCY | 3068 | Johar | DTS-508303 : CHAPPAL BUILDERS S/S : 500 KVA | 508303 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126632 | G.MAINT OF CHAPPAL BUILDER SUBSTATION | KING RESIDENCY | 3068 | Johar | RM-01311 : CHAPPAL BUILDERS S/S : KVA | RM-01311 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002681 : P-94/8/8 SEC-5F N/K : 250 KVA | 2681 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126618 | G.MAINT OF RAO & ISRAR SUBSTATION | KING RESIDENCY | 3068 | Johar | DTS-508307 : RAO & ISRAR S/S L-1 : 750 KVA | 508307 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126618 | G.MAINT OF RAO & ISRAR SUBSTATION | KING RESIDENCY | 3068 | Johar | DTS-513046 : RAO & ISRAR S/S L-2 : 500 KVA | 513046 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126618 | G.MAINT OF RAO & ISRAR SUBSTATION | KING RESIDENCY | 3068 | Johar | RM-01313 : RAO & ISRAR S/S : KVA | RM-01313 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126632 | G.MAINT OF CHAPPAL BUILDER SUBSTATION | KING RESIDENCY | 3068 | Johar | DTS-508304 : RIMSHA AVENUE S/S : 1000 KVA | 508304 | SSM Johar Cluster | 10:00:00-16:00:00
2021-07-03 | 360126644 | BUSBAR REPLACEMENT, K/S MAINTENANCE, HT/LT BUSHING BOOT COVERS INSTALLATION, ( SSM WORK = S/S MAINTENANCE. RMU MAINTENANCE & HT CABLE LUG PUNCHING REQUIRED. | NILLAT | 3176 | Gulshan | DTS-010381 : NILLAT : 250 KVA | 10381 | IBC Gulshan | 10:00:52-16:00:33
2021-07-03 | 360126644 | BUSBAR REPLACEMENT, K/S MAINTENANCE, HT/LT BUSHING BOOT COVERS INSTALLATION, ( SSM WORK = S/S MAINTENANCE. RMU MAINTENANCE & HT CABLE LUG PUNCHING REQUIRED. | NILLAT | 3176 | Gulshan | DTS-010383 : USMAN INSTITUTE : 500 KVA | 10383 | IBC Gulshan | 10:00:52-16:00:33
2021-07-03 | 360126644 | BUSBAR REPLACEMENT, K/S MAINTENANCE, HT/LT BUSHING BOOT COVERS INSTALLATION, ( SSM WORK = S/S MAINTENANCE. RMU MAINTENANCE & HT CABLE LUG PUNCHING REQUIRED. | NILLAT | 3176 | Gulshan | DTS-010386 : CIVIL DEFFENCE : 250 KVA | 10386 | IBC Gulshan | 10:00:52-16:00:33
2021-07-03 | 360126644 | BUSBAR REPLACEMENT, K/S MAINTENANCE, HT/LT BUSHING BOOT COVERS INSTALLATION, ( SSM WORK = S/S MAINTENANCE. RMU MAINTENANCE & HT CABLE LUG PUNCHING REQUIRED. | NILLAT | 3176 | Gulshan | DTS-010387 : SAFARI VIEW PMT : 250 KVA | 10387 | IBC Gulshan | 10:00:52-16:00:33
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002679 : P-8/9/1A SEC-5F N/K (RHS) : 250 KVA | 2679 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002680 : P-8/9/1 SEC-5F N/K (LHS) : 250 KVA | 2680 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002682 : P-94/8/5/8 SEC-5F N/K : 250 KVA | 2682 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002683 : P-94/8/5/5/1, SEC-5F N/K : 250 KVA | 2683 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002684 : P-94/8/5/3 SEC-5F N/K : 250 KVA | 2684 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-004471 : "P-22/2, SSEC-5F, NK" : 250 KVA | 4471 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002702 : P-94/8/16 SEC-5F N/K : 250 KVA | 2702 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-002703 : P-94/8/12 SEC-5F N/K : 250 KVA | 2703 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-004463 : P-22/5, SEC, 5F, NK : 250 KVA | 4463 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-500835 : P-94/8/2/3, SEC 5 F NK : 250 KVA | 500835 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-500948 : P-94/8/2/1 SEC-5F N/K (RHS) : 250 KVA | 500948 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-500949 : P-94/8/2/1A SEC-5F N/K (LHS) : 250 KVA | 500949 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-522121 : P-22/3A, MAP WELFARE TRUST : 50 KVA | 522121 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-524331 : P-94/8/12 D/PMT (RHS) SIP : 250 KVA | 524331 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-528460 : P-8/5/11 D/PMT (RHS), SECTOR-5F NORTH KA : 250 KVA | 528460 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-528461 : P-8/5/11 D/PMT (LHS), SECTOR-5F NORTH KA : 250 KVA | 528461 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-528462 : P-8/2/5 D/PMT (RHS), SECTOR-5F NORTH KAR : 150 KVA | 528462 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-528463 : P-8/2/5 D/PMT (LHS), SECTOR-5F NORTH KAR : 150 KVA | 528463 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-528700 : P-94/8/5/7, SECTOR-5F NORTH KARACHI : 250 KVA | 528700 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126651 | AMR RECTIFICATION & COMMUNICATION CHECK | LAL MARKET (P-22/3) | 3367 | Surjani | DTS-532946 : P-8/2/8 PMT, SECTOR-5F NORTH KARACHI : 250 KVA | 532946 | RPR IBC Surjani | 09:00:00-17:30:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-000727 : COLLEGE WALI (GLOBAL EDUCATION) PMT : 250 KVA | 727 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-008708 : MUHAMMAD MUSHTAQ PMT : 500 KVA | 8708 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-008709 : INDUS CORP. PMT : 250 KVA | 8709 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-008713 : SAROSH FLOUR PMT : 500 KVA | 8713 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-502818 : YAHYA POULTRY PMT 01 : 100 KVA | 502818 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-502819 : REFLECTION SCHOOL PMT : 250 KVA | 502819 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-502820 : WOOD CRAFT PMT : 400 KVA | 502820 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-502821 : PETRO MARK PMT : 50 KVA | 502821 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-502823 : SHAIKH ARIF PMT : 50 KVA | 502823 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-507772 : S. MUBASHIR IMAM PMT : 50 KVA | 507772 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-508357 : PERVAIZ AHMED PMT : 500 KVA | 508357 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-511779 : SHAKEEL AHMED PMT : 150 KVA | 511779 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-526154 : M.ISMAIL (ALMAKAH FLOUR) PMT : 500 KVA | 526154 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-528184 : WOOD CRAFT (ABDUL HASEEB) PMT : 250 KVA | 528184 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-528185 : INDUS LUBE PMT : 250 KVA | 528185 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-530059 : RAEES FAROOQ GAYA PMT : 50 KVA | 530059 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-530084 : THE HUNOR FOUNDATION PMT : 50 KVA | 530084 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-531621 : ASHOK KUMAR KHEMANI PMT : 50 KVA | 531621 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-532133 : S.M JAFFAR & CO. : 100 KVA | 532133 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126652 | TIGER PULLING, PMT QC AND TREE PRUNING | SILICON PRODUCT (OLD BURSHANE GAS) | 709 | Korangi | DTS-533143 : MIAN MUHAMMAD ALI PMT : 250 KVA | 533143 | PM Korangi Cluster | 09:00:00-17:00:00
2021-07-03 | 360126666 | INSTALLATION OF HT POLE & ACCESSORIES | HAYAT BAIG | 880 | Surjani | SUPERVISORS(SIKANDAR/KASHIF/RIAZ/SHIRAZ) | - | PM North Cluster | 09:00:00-18:00:00
2021-07-03 | 360126666 | INSTALLATION OF HT POLE & ACCESSORIES | HAYAT BAIG | 880 | Surjani | DTS-173466 : "P-62/15, SEC-7A, SURJANI" : 250 KVA | 173466 | PM North Cluster | 09:00:00-18:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509356 : GREEN PARK CITY PMT 8 : 100 KVA | 509356 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509349 : GREEN PARK CITY PMT 01 : 100 KVA | 509349 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509350 : GREEN PARK CITY PMT 02 : 100 KVA | 509350 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509351 : GREEN PARK CITY PMT 3 : 100 KVA | 509351 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509352 : GREEN PARK CITY PMT 4 : 100 KVA | 509352 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509353 : GREEN PARK CITY PMT 5 : 100 KVA | 509353 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509357 : GREEN PARK CITY PMT 9 : 100 KVA | 509357 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509358 : GREEN PARK CITY PMT 10 : 150 KVA | 509358 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509359 : GREEN PARK CITY PMT 11 : 100 KVA | 509359 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-005181 : QAISAR SAJJAD : 50 KVA | 5181 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-005182 : AL FAZAL PUMPING 02 : 400 KVA | 5182 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-005184 : MODEL 'B' PMT : 250 KVA | 5184 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-500065 : RAHIM KHAN VILLAGE PMT : 250 KVA | 500065 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-501992 : AL-FAZAL PUMPING 01 : 500 KVA | 501992 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-502148 : MODEL 'B' S/S : 1000 KVA | 502148 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-508753 : JAFFAR BAGH : 500 KVA | 508753 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-521849 : MODEL 'B' PMT 01 : 250 KVA | 521849 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-521859 : MODEL 'B' PMT 02 : 250 KVA | 521859 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-521860 : MODEL 'B' PMT 03 : 250 KVA | 521860 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-524709 : MUHAMMAD ARIF PMT : 150 KVA | 524709 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-525029 : CH.FAZAL MOHAMMAD (BANK AL.HABIB) : 50 KVA | 525029 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-526867 : SWEET HOME LAND PMT : 250 KVA | 526867 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-526954 : RAHIM KHAN VILLAGE PMT 02 : 250 KVA | 526954 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-526977 : EASA KATHIAR HOTEL PMT : 250 KVA | 526977 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-526978 : MEHBOOB ALAM JOKHIO PMT : 250 KVA | 526978 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527077 : SHEET 13 PMT : 250 KVA | 527077 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527085 : A. AIJAZ PMT : 250 KVA | 527085 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527086 : WARSI MASJID PMT : 500 KVA | 527086 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527129 : FEHMIDA PARVEEN PMT : 50 KVA | 527129 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527196 : RIAZ-UL-HASSAN PMT : 250 KVA | 527196 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527247 : GHAZI SALAHUDDIN PMT : 250 KVA | 527247 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527342 : NEAR QOUMI BACHAT BANK PMT : 250 KVA | 527342 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126669 | HT HOT SPOT MAINTINANCE | ABBASI MARKET | 1271 | Bin Qasim | DTS-527931 : AIJAZ AHMED KHAN : 50 KVA | 527931 | IBC Malir | 10:00:00-16:00:00
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001132 : DR. MIRZA NASEER HUSSAIN HOSPITAL R-1901 : 250 KVA | 1132 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001133 : RAFIQUE SWEET : 500 KVA | 1133 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001137 : KHIDMAT-E-KHALQ : 250 KVA | 1137 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001139 : ALLAMA IQBAL OPEN UNIVERSITY : 400 KVA | 1139 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001278 : RAZIA IMAM HOSPITAL : 750 KVA | 1278 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001366 : ISLAMIC RESEARCH CENTER : 400 KVA | 1366 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-001367 : AZIZABAD TEL NO.2 BL-14 F.B.A S/S : 750 KVA | 1367 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-512978 : NAZEER HUSSAIN PMT : 250 KVA | 512978 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126677 | 2 X HT POLE INSTALLATION, HT SHIFTING AND TREE PRUNING @ NASEERABAD + ISO OF BUKSHI SQ FEEDER | NASEERABAD (K.ACADEMY) | 224 | Gulshan | DTS-521022 : M/S MUHAMMAD HANIF (AL-GAFOOR HEAVEN) : 500 KVA | 521022 | PM Gulshan Cluster | 10:00:05-16:00:05
2021-07-03 | 360126685 | HT/LT SIDE DEAD REQUIRED AT CIVIL RENOVATION WORK OF A. HAROON TECH SCHOOL S/S SUB STATION | OKHAI MEMON | 852 | Baldia | RM-02459 : A. HAROON TECH SCHOOL S/S : KVA | RM-02459 | PM Baldia Cluster | 09:15:00-17:15:00
2021-07-03 | 360126687 | SHIFTING OF KH-E-SAADI PMT-2 WITH ALL LT AND HT TO NEW STRUCTURE AND SHIFTING OF HT ABC O/H OF KH-E-SAADI PMT-1 FROM TO NEW STRUCTURE WITH TIGER CONVERSION . | KH-E-ABBASI | 3308 | Defence | KH-E-SAADI RMU ALSO REQUIRED DEAD | - | PM Defence Cluster | 09:00:00-18:00:00
2021-07-03 | 360126687 | SHIFTING OF KH-E-SAADI PMT-2 WITH ALL LT AND HT TO NEW STRUCTURE AND SHIFTING OF HT ABC O/H OF KH-E-SAADI PMT-1 FROM TO NEW STRUCTURE WITH TIGER CONVERSION . | KH-E-ABBASI | 3308 | Defence | DTS-175141 : KH-E-SAADI PMT-1 : 500 KVA | 175141 | PM Defence Cluster | 09:00:00-18:00:00
2021-07-03 | 360126687 | SHIFTING OF KH-E-SAADI PMT-2 WITH ALL LT AND HT TO NEW STRUCTURE AND SHIFTING OF HT ABC O/H OF KH-E-SAADI PMT-1 FROM TO NEW STRUCTURE WITH TIGER CONVERSION . | KH-E-ABBASI | 3308 | Defence | DTS-522950 : KH-E-SAADI PMT-2 : 500 KVA | 522950 | PM Defence Cluster | 09:00:00-18:00:00
2021-07-03 | 360126690 | GENERAL MAINTENANCE & B/BAR SLEEVING WORK AT MODEL-B S/S | ABBASI MARKET | 1271 | Bin Qasim | DTS-502148 : MODEL 'B' S/S : 1000 KVA | 502148 | UGM Bin Qasim Clus | 12:00:00-18:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-001653 : CHAPAL SUN CITY PMT 02 : 250 KVA | 1653 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-001654 : CHAPAL SUN CITY PMT 03 : 250 KVA | 1654 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-001655 : CHAPAL SUN CITY PMT 04 : 250 KVA | 1655 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-001658 : CHAPAL SUN CITY PMT 01 : 250 KVA | 1658 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-002530 : CHAPPAL GRAND CITY PMT-02 : 250 KVA | 2530 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-002531 : CHAPPAL GRAND CITY PMT-01 : 250 KVA | 2531 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-171555 : CHAPPLE HARRACKS SCHOOL PMT : 150 KVA | 171555 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-508547 : M.AMEEN PMT NO. 1 : 400 KVA | 508547 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-510738 : MOHD RAUF CHAPPAL BUILDER-1 : 250 KVA | 510738 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-511056 : MOHD RAUF CHAPPAL BUILDER-2 : 250 KVA | 511056 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-527185 : M AMIN PMT NO. 4 : 100 KVA | 527185 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126690 | GENERAL MAINTENANCE & B/BAR SLEEVING WORK AT MODEL-B S/S | ABBASI MARKET | 1271 | Bin Qasim | FDR-001271 : ABBASI MARKET : 300 KVA | FDR-001271 | UGM Bin Qasim Clus | 12:00:00-18:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-002529 : CHAPPAL GRAND CITY S/S L-1 : 1000 KVA | 2529 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-504634 : CHAPAL SUN CITY S/S L-1 : 1000 KVA | 504634 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-513048 : CHAPPAL GRAND CITY S/S L-2 : 1000 KVA | 513048 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-513108 : M AMIN PMT NO. 2 : 400 KVA | 513108 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-523598 : M AMIN PMT NO.3 : 50 KVA | 523598 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-528562 : DAMANI S/S L-1 : 750 KVA | 528562 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-528563 : DAMANI S/S L-2 : 1000 KVA | 528563 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-530616 : NOMAN RESIDENCIA L-1 : 1000 KVA | 530616 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-530996 : GREY DEVELOPERS L-1 : 750 KVA | 530996 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-530997 : GREY DEVELOPERS L-2 : 750 KVA | 530997 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-531037 : MUHAMMAD AYUB S/S 01 L-1 : 750 KVA | 531037 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-531038 : MUHAMMAD AYUB S/S 01 L-2 : 750 KVA | 531038 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-532681 : KAMRAN ALI KHAN : 100 KVA | 532681 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | DTS-533806 : MUHAMMAD AMIN CHAPAL : 1000 KVA | 533806 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509360 : GREEN PARK CITY PMT 12 : 100 KVA | 509360 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509361 : GREEN PARK CITY PMT 13 : 100 KVA | 509361 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509362 : GREEN PARK CITY PMT 14 : 100 KVA | 509362 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509363 : GREEN PARK CITY PMT 15 : 100 KVA | 509363 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509364 : GREEN PARK CITY PMT 16 : 100 KVA | 509364 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509365 : GREEN PARK CITY PMT 17 : 100 KVA | 509365 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509366 : GREEN PARK CITY PMT 18 : 100 KVA | 509366 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509367 : GREEN PARK CITY PMT 19 : 100 KVA | 509367 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509368 : GREEN PARK CITY PMT 20 : 100 KVA | 509368 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509369 : GREEN PARK CITY PMT 21 : 100 KVA | 509369 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509370 : GREEN PARK CITY PMT 22 : 100 KVA | 509370 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509371 : GREEN PARK CITY PMT 23 : 100 KVA | 509371 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509372 : GREEN PARK CITY PMT 24 : 100 KVA | 509372 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509373 : GREEN PARK CITY PMT 25 : 100 KVA | 509373 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509374 : GREEN PARK CITY PMT 26 : 100 KVA | 509374 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509375 : GREEN PARK CITY PMT 27 : 100 KVA | 509375 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509378 : GREEN PARK CITY PMT 30 : 100 KVA | 509378 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509379 : GREEN PARK CITY PMT 31 : 100 KVA | 509379 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509380 : GREEN PARK CITY PMT 32 : 100 KVA | 509380 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126667 | FOR TREE PRUNING | GREEN PARK CITY | 2033 | Bin Qasim | DTS-509381 : GREEN PARK CITY PMT 33 : 100 KVA | 509381 | IBC Bin Qasim | 10:00:00-16:00:00
2021-07-03 | 360126695 | TRENCH COVER PLACEMENT & PILLAR BOX CONVERSION....! | TAQI CENTER | 675 | Surjani | TRENCH COVER PLACEMENT & PILLAR BOX CONVERSION....! | - | Centralize North C | 10:00:00-18:00:00
2021-07-03 | 360126695 | TRENCH COVER PLACEMENT & PILLAR BOX CONVERSION....! | TAQI CENTER | 675 | Surjani | DTS-008769 : P-19, TAQI CENTER PMT : 500 KVA | 8769 | Centralize North C | 10:00:00-18:00:00
2021-07-03 | 360126695 | TRENCH COVER PLACEMENT & PILLAR BOX CONVERSION....! | TAQI CENTER | 675 | Surjani | FDR-000675 : TAQI CENTER : 300 KVA | FDR-000675 | Centralize North C | 10:00:00-18:00:00
2021-07-03 | 360126695 | TRENCH COVER PLACEMENT & PILLAR BOX CONVERSION....! | TAQI CENTER | 675 | Surjani | RM-00670 : TAQI CENTER SS : KVA | RM-00670 | Centralize North C | 10:00:00-18:00:00
2021-07-03 | 360126700 | HOTSPOT MAINTENANCE | BATALA ESTATE | 375 | Defence | DTS-012182 : KAMRAN CONSTRUCTIONS L-1 : 750 KVA | 12182 | IBC Saddar | 10:30:00-16:00:00
2021-07-03 | 360126700 | HOTSPOT MAINTENANCE | BATALA ESTATE | 375 | Defence | DTS-506006 : KAMRAN CONSTRUCTIONS SS L-1 : 750 KVA | 506006 | IBC Saddar | 10:30:00-16:00:00
2021-07-03 | 360126709 | TREE PRUNING AND EW RESET & GURAD WIRE LOOP P-2/3 | POLE-15 (KDA CHORANGI) | 3294 | Surjani | FDR-003294 : POLE-15 (KDA CHORANGI) : 300 KVA | FDR-003294 | IBC NorthNazimabad | 09:00:00-18:00:00
2021-07-03 | 360126704 | PMT INSTALLATION | SAIBAN | 881 | Surjani | DTS-012304 : "P-5/23, SEC-4A, SURJANI" : 50 KVA | 12304 | PM North Cluster | 09:00:00-18:00:00
2021-07-03 | 360126692 | SAFETY HAZARD MITIGATION TREE PRUNING | CHAPPLE BUILDER | 299 | Johar | FDR-000299 : CHAPPLE BUILDER : 300 KVA | FDR-000299 | IBC Johar II | 10:00:00-16:00:00
2021-07-03 | 360126703 | INSTALLATION OF PMT & D/E | POLE-15 (KDA CHORANGI) | 3294 | Surjani | SUPERVISORS(SIKANDAR/KASHIF/RIAZ/SHIRAZ) | - | PM North Cluster | 09:00:00-18:00:00
2021-07-03 | 360126703 | INSTALLATION OF PMT & D/E | POLE-15 (KDA CHORANGI) | 3294 | Surjani | DTS-008480 : P-10/2 HAJRA MASJID PMT (HEALTH CARE) : 500 KVA | 8480 | PM North Cluster | 09:00:00-18:00:00
2021-07-03 | 360126704 | PMT INSTALLATION | SAIBAN | 881 | Surjani | SUPERVIOSRS(SIKANDAR/KASHIF/RIAZ/SHIRAZ) | - | PM North Cluster | 09:00:00-18:00:00
2021-07-03 | 360126537 | HT Reforcement with Tiger Conductor | PHASE-II (SHANGRILLA FOOD) | 3230 | Surjani | MAY BE WHOLE FEEDER AFFECTED. | - | IBC North Karachi | 09:00:00-17:30:00
Network Control (LDC)
Planned Shutdowns for Saturday the 3rd July, 2021 Form No:- LDC-M-SD-W2/04
| Sr. No | Circuit / Equipment | Requesting Department | Purpose | Timing |  | Grid / Area Affected | Remarks
[5 empty] | From | To
| 1 | 132kV Gizri / Clifton circuit | TMS-OH GSM-South | For maintenance & cleaning of line insulators (TMS) Cleaning of 132kV bay at Cliftin grid (GSM) | 04:00 | 14:00 | Nil | 132kV Queens / Clifton & Queensroad / Gizri circuit will serve the load Work Permit No : PTW-030721-01-1 (For TMS-OH)
| 2 | 132kV Haroonabad / N.Nazimabad circuit | TMS-UG | For safety clearance during dismantling of existing Oil filled cable unit | 11:00 | 15:00 | Nil | 132kV Valika / N.Nazimabad circuit will serve the load Work Permit No : PTW-030721-02-1 (For TMS-UG)
| 3 | 132kV Haroonabad / SITE circuit | GSMO-North | For commissioning of Line Differential Relay at both ends | 10:00 | 17:00 | Nil | 132kV Haroonabad / Labour Square & Haroonabad / Old Golimar circuits will serve the load
| 4 | 132kV Hub Chowki / Vinder circuit , 66kV Vinder / Uthal circuit | TMS-OH GSMO-North | For project activities (TMS) Cleaning of yard at Vinder grid (GSM) | 08:00 | 16:00 | Vinder, Uthal & Bela grids | Hub Operations is informed GSO has informed RRC for publishing Work Permit No : PTW-030721-04-1 (For Hub-Vinder) Work Permit No : PTW-030721-05-1 (For Vinder-Uthal)
| 5 |  |  | Maintenance activity
|  |  | Feeder Id | Name
|  |  | 3023 | BARA BAGH
|  |  | 3024 | DANDA
|  |  | 3025 | KATHORE
|  |  | 3026 | VIARO
|  |  | 3026 | VIARO
|  |  | 3407 | JAM YOUSUF
|  |  | 3587 | HT OH P-01
|  |  | 3587 | KUNDALA
|  |  | 3901 | POLE-1(BARA BAGH)
|  |  | 3901 | BELLA CROSS
|  |  | 3954 | ISLAMILANI
|  |  | Feeder Id | Name
|  |  | 3035 | B.D.A
|  |  | 3036 | BANOODI
|  |  | 3037 | DAOOD YAMAHA
|  |  | 3038 | UTHAL BAZAR
|  |  | 3090 | PLASTIC FACTORY
|  |  | 3186 | LAKHRA
|  |  | 3858 | UNIVERSAL RMU
|  |  | Feeder Id | Name
|  |  | 3032 | ARMY PROOF RANGE
|  |  | 3033 | VINDER BAZAR
|  |  | 3034 | WELLS AREA
|  |  | 3088 | LIDA
|  |  | 3089 | SIDDIQ SONS
|  |  | 3160 | NEW FEEDER P-01 (KHURKHERA)
|  |  | 3726 | TIN PLATE
|  |  | 3955 | CHINCHARI RMU
|  |  | 4068 | DEFENCE PROOF RANGEES
| 6 | 132kV KDA / SNPC circuit 1 | STDC | Cleaning of insulators | 09:00 | 17:00 | Nil | 132kV KDA / SNPC circuit 2 will serve the load